{"text_format":"2","workbook":"xlsx","n_sheets":5,"sheets":["BECO DA VITÓRIA","RUA FLOR DE MAIO","RUA DA ESPERANÇA","RUA AYRTON SENNA","Plan1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"BECO DA VITÓRIA","index":0,"n_rows":44,"n_cols":15,"rows_kept":44,"cut":false,"hidden":false,"merged":[[0,2,0,4]]}
["ESTAÇÃO","PTO VISADO","ÂNGULO HORIZONTAL",null,null,"DISTÂNCIA","OBSERVAÇÕES","α decimal","radiano",null,"Δx","Δy","p","x","y"]
["A",{"$nulls":11},"A",1000,1000]
["A",0,0,0,null,12.2,null,{"$f":"C3+(D3/60)+(E3/3600)","v":0},{"$f":"H3*PI()/180","v":0},{"$f":"I3","v":0},{"$f":"SIN(J3)*F3","v":0},{"$f":"COS(J3)*F3","v":12.2},{"$f":"B3","v":0},{"$f":"$N$2+K3","v":1000},{"$f":"$O$2+L3","v":1012.2}]
[null,1,353,18,50,12,null,{"$f":"C4+(D4/60)+(E4/3600)","v":353.31388888888893},{"$f":"H4*PI()/180","v":6.1664906541365214},{"$f":"I4","v":6.1664906541365214},{"$f":"SIN(J4)*F4","v":-1.397159787774664},{"$f":"COS(J4)*F4","v":11.918386825717038},{"$f":"B4","v":1},{"$f":"$N$2+K4","v":998.60284021222537},{"$f":"$O$2+L4","v":1011.918386825717}]
[null,2,355,17,40,1.4,null,355.29444444444448,6.201057869599631,6.201057869599631,-0.11484920290585406,1.39528121201136,2,999.88515079709418,1001.3952812120114]
[null,3,6,10,30,6.6,null,6.1750000000000007,0.10777408131064986,0.10777408131064986,0.70993273064624385,6.5617067534260594,3,1000.7099327306462,1006.5617067534261]
[null,4,41,49,20,2,null,41.822222222222223,0.72993547827851746,0.72993547827851746,1.3336431073607611,1.4904348567411907,4,1001.3336431073608,1001.4904348567412]
[null,5,69,29,null,3.8,null,69.483333333333334,1.2127129419273932,1.2127129419273932,3.5589670580086721,1.3318233666703305,5,1003.5589670580086,1001.3318233666703]
[null,6,92,43,null,22.6,null,92.716666666666669,1.618211104807409,1.618211104807409,22.574600537776082,-1.0711725163762296,6,1022.5746005377761,998.92882748362376]
[null,7,102,9,30,19.2,null,102.15833333333335,1.7829992750165407,1.7829992750165407,18.769330858526121,-4.0437877198462084,7,1018.7693308585261,995.95621228015375]
[null,8,102,59,null,15,null,102.98333333333333,1.7973982413454936,1.7973982413454936,14.616531887548859,-3.370014181018735,8,1014.6165318875488,996.62998581898125]
[null,9,105,39,40,8.8000000000000007,null,105.66111111111111,1.8441342802044529,1.8441342802044529,8.4733016876668987,-2.3755333106023353,9,1008.4733016876669,997.62446668939765]
[null,10,115,16,null,4.5,null,115.26666666666667,2.0117828511321303,2.0117828511321303,4.069489605182234,-1.9207431773440562,10,1004.0694896051822,998.07925682265591]
[null,11,162,15,30,2,null,162.25833333333333,2.8319421554651325,2.8319421554651325,0.60945155089980396,-1.9048802605691055,11,1000.6094515508998,998.09511973943086]
[null,12,174,43,20,6.8,null,174.72222222222223,3.0494780541789814,3.0494780541789814,0.62549383665666636,-6.7711710553127018,12,1000.6254938366567,993.22882894468728]
[null,13,179,58,null,14.2,null,179.96666666666667,3.1410108771724619,3.1410108771724619,8.2612246600846824E-3,-14.199997596907089,13,1000.00826122466,985.80000240309289]
[null,14,181,48,null,1.9,null,181.8,3.1730085801256913,3.1730085801256913,-5.9680442248444029E-2,-1.8990624646948899,14,999.94031955775154,998.10093753530509]
[null,15,181,48,null,7.3,null,181.8,3.1730085801256913,3.1730085801256913,-0.22929854127033758,-7.2963978906698408,15,999.77070145872972,992.70360210933018]
[null,16,183,40,30,14.4,null,183.67499999999998,3.2057335036005843,3.2057335036005843,-0.92299506183151792,-14.370389003636424,16,999.07700493816844,985.62961099636357]
[null,17,183,40,30,22.4,null,183.67499999999998,3.2057335036005843,3.2057335036005843,-1.435770096182361,-22.353938450101101,17,998.56422990381759,977.64606154989895]
[null,18,186,11,null,21.2,null,186.18333333333334,3.2495121790047756,3.2495121790047756,-2.2834554841736487,-21.076665558190111,18,997.7165445158264,978.92333444180986]
[null,19,199,43,30,26.5,null,199.72499999999999,3.4858588485456745,3.4858588485456745,-8.9439095390469774,-24.945069295500954,19,991.05609046095299,975.05493070449904]
[null,20,204,37,null,26.9,null,204.61666666666667,3.5712345377890644,3.5712345377890644,-11.205067513036839,-24.455192946044942,20,988.79493248696315,975.54480705395508]
[null,21,211,45,50,16.5,null,211.76388888888889,3.6959770979385476,3.6959770979385476,-8.6859306498627706,-14.028706595612245,21,991.31406935013717,985.97129340438778]
[null,22,204,19,20,15.5,null,{"$f":"C25+(D25/60)+(E25/3600)","v":204.32222222222222},{"$f":"H25*PI()/180","v":3.5660955127693024},3.5660955127693024,{"$f":"SIN(J25)*F25","v":-6.3839511521315071},{"$f":"COS(J25)*F25","v":-14.12427582877079},{"$f":"B25","v":22},{"$f":"$N$2+K25","v":993.61604884786846},{"$f":"$O$2+L25","v":985.87572417122919}]
[null,23,224,15,null,8,null,224.25,3.9139008475972838,3.9139008475972838,-5.5823236787334398,-5.7304155473972349,23,994.41767632126653,994.26958445260277]
[null,24,238,7,20,6.6,null,238.12222222222223,4.1560167999433864,4.1560167999433864,-5.6045654219064396,-3.4855195353879016,24,994.39543457809361,996.51448046461212]
[null,25,245,32,40,9,null,245.54444444444445,4.2855590155358545,4.2855590155358545,-8.1925440786751302,-3.7258853335771174,25,991.80745592132484,996.27411466642286]
[null,26,292,46,null,6.1,null,292.76666666666665,5.1097422734220652,5.1097422734220652,-5.6247395022797537,2.3605731362306273,26,994.37526049772021,1002.3605731362306]
[null,27,323,36,null,10.7,null,323.60000000000002,5.6478854594536507,5.6478854594536507,-6.3495820866596029,8.6123636317082823,27,993.65041791334045,1008.6123636317083]
[null,28,312,30,null,11.6,null,312.5,5.4541539124822798,5.4541539124822798,-8.5524171069974404,7.8368464083416569,28,991.4475828930025,1007.8368464083417]
[null,29,327,12,30,22,null,327.20833333333331,5.7108627566297789,5.7108627566297789,-11.914890880128484,18.494198423144244,29,988.0851091198715,1018.4941984231442]
[null,30,335,37,40,22,null,335.62777777777779,5.8578097833740799,5.8578097833740799,-9.0785831266898818,20.039444313946976,30,990.92141687331014,1020.039444313947]
[null,"B",96,30,null,22,null,96.5,1.684242728174528,1.684242728174528,21.858580824884925,-2.4904707028939477,"B",1021.8585808248849,997.50952929710604]
["B","A",{"$nulls":10},"A"]
[null,31,174,18,20,7,null,174.30555555555557,3.0422058489623383,{"$f":"IF($J$34+I36>PI(),$J$34+I36-PI(),$J$34+I36+PI())","v":1.5848559235470727},6.999308158483684,-9.841393490628994E-2,31,{"$f":"$N$34+K36","v":1028.8578889833686},{"$f":"$O$34+L36","v":997.41111536219978}]
[null,32,179,54,null,14.3,null,{"$f":"C37+(D37/60)+(E37/3600)","v":179.9},{"$f":"H37*PI()/180","v":3.1398473243377989},{"$f":"IF($J$34+I37>PI(),$J$34+I37-PI(),$J$34+I37+PI())","v":1.6824973989225338},{"$f":"SIN(J37)*F37","v":14.210881243996528},{"$f":"COS(J37)*F37","v":-1.5940057305504556},{"$f":"B37","v":32},{"$f":"$N$34+K37","v":1036.0694620688814},{"$f":"$O$34+L37","v":995.91552356655563}]
[null,33,184,34,50,27.3,null,184.58055555555555,3.2215384296047551,1.76418850418949,26.791071859753519,-5.2467579137523828,33,1048.6496526846386,992.26277138335365]
[null,34,190,22,40,26.8,null,190.37777777777779,3.3227190448523163,1.8653691194370516,25.6456238004093,-7.7808726944912809,34,1047.5042046252943,989.72865660261471]
[null,35,192,44,30,17,null,192.74166666666665,3.3639766891147365,1.9066267636994709,16.050328353449185,-5.6024066031005972,35,1037.9089091783342,991.90712269400547]
[null,36,204,6,10,5.5,null,204.10277777777776,3.5622654846885369,2.1049155592732713,4.7339454083247183,-2.7999572980674752,36,1026.5925262332096,994.70957199903853]
[null,37,201,57,0,4.2,null,201.95,3.5246924244025486,2.0673424989872835,3.6927793457160778,-2.0008449974580085,37,1025.5513601706011,995.50868429964805]
[null,"C",187,null,null,38,null,187,3.2637657012293966,1.8064157758141315,36.950056975111707,-8.8709238265244199,"C",1058.8086377999966,988.63860547058164]
[null,38,100,null,null,200,null,100,1.7453292519943295,0.28797932657906422,56.803068940784499,191.76394697363861,38,1078.6616497656694,1189.2734762707446]

{"sheet":"RUA FLOR DE MAIO","index":1,"n_rows":82,"n_cols":15,"rows_kept":82,"cut":false,"hidden":false,"merged":[[0,2,0,4]]}
["ESTAÇÃO","PTO VISADO","ÂNGULO HORIZONTAL",null,null,"DISTÂNCIA","OBSERVAÇÕES","α decimal","radiano",null,"Δx","Δy","p","x","y"]
["A",{"$nulls":11},"A",1000,1000]
["A",0,0,0,null,42.5,null,{"$f":"C3+(D3/60)+(E3/3600)","v":0},{"$f":"H3*PI()/180","v":0},{"$f":"I3","v":0},{"$f":"SIN(J3)*F3","v":0},{"$f":"COS(J3)*F3","v":42.5},{"$f":"B3","v":0},{"$f":"$N$2+K3","v":1000},{"$f":"$O$2+L3","v":1042.5}]
[null,1,358,57,50,41,null,{"$f":"C4+(D4/60)+(E4/3600)","v":358.9638888888889},{"$f":"H4*PI()/180","v":6.2651017568742011},{"$f":"I4","v":6.2651017568742011},{"$f":"SIN(J4)*F4","v":-0.74138515366054503},{"$f":"COS(J4)*F4","v":40.99329637945614},{"$f":"B4","v":1},{"$f":"$N$2+K4","v":999.25861484633947},{"$f":"$O$2+L4","v":1040.9932963794561}]
[null,2,6,31,50,28.2,null,6.5305555555555559,0.11397969642885192,0.11397969642885192,3.2072724216288275,28.017019891727582,2,1003.2072724216288,1028.0170198917276]
[null,3,3,53,40,27.8,null,3.8944444444444444,6.7970878091556941E-2,6.7970878091556941E-2,1.8881357497173505,27.735806160821056,3,1001.8881357497173,1027.7358061608211]
[null,4,7,39,40,26.5,null,7.6611111111111114,0.13371161325001005,0.13371161325001005,3.5328086909869523,26.263458697454283,4,1003.5328086909869,1026.2634586974543]
[null,5,11,19,50,19.600000000000001,null,11.330555555555556,0.19775550052457974,0.19775550052457974,3.8507938366100376,19.217996431156038,5,1003.85079383661,1019.2179964311561]
[null,6,6,57,20,19.3,null,6.9555555555555557,0.12139734574982781,0.12139734574982781,2.3372181670085368,19.15795947484505,6,1002.3372181670086,1019.157959474845]
[null,7,13,56,30,12,null,13.941666666666666,0.24332798654887611,0.24332798654887611,2.8912068460668485,11.646498313796133,7,1002.8912068460669,1011.6464983137961]
[null,8,8,38,40,13.5,null,8.6444444444444439,0.1508740175612876,0.1508740175612876,2.0290807607137471,13.346641197938204,8,1002.0290807607138,1013.3466411979382]
[null,9,11,12,null,7,null,11.2,0.1954768762233649,0.1954768762233649,1.3596404585398036,6.8666860874443412,9,1001.3596404585398,1006.8666860874444]
[null,10,12,39,null,3.1,null,12.65,0.22078415037728272,0.22078415037728272,0.67888389941135008,3.0247506758607461,10,1000.6788838994114,1003.0247506758608]
[null,11,34,9,50,3,null,34.163888888888884,0.59627234639661819,0.59627234639661819,1.6846859768363096,2.4823040022227514,11,1001.6846859768364,1002.4823040022228]
[null,12,70,33,20,4,null,70.555555555555557,1.2314267500182214,1.2314267500182214,3.7718588647235038,1.3315707659027063,12,1003.7718588647235,1001.3315707659027]
[null,13,87,28,50,17.3,null,87.480555555555554,1.5268237259182618,1.5268237259182618,17.283277144574562,0.7604808635505319,13,1017.2832771445745,1000.7604808635506]
[null,14,89,43,null,25.8,null,89.716666666666669,1.5658512272475795,1.5658512272475795,25.799684543919877,0.12758304833311751,14,1025.79968454392,1000.1275830483331]
[null,15,100,null,null,27.7,null,100,1.7453292519943295,1.7453292519943295,27.279174758438163,-4.8100545213739689,15,1027.2791747584381,995.18994547862599]
[null,16,104,27,20,27.6,null,104.45555555555556,1.8230933664442992,1.8230933664442992,26.726227313431746,-6.8897586017780794,16,1026.7262273134318,993.11024139822189]
[null,17,124,37,null,5.3,null,124.61666666666666,2.1749711361936002,2.1749711361936002,4.3617471197072133,-3.0108407569524216,17,1004.3617471197072,996.98915924304754]
[null,18,171,35,40,4.2,null,171.59444444444446,2.9948880336860477,2.9948880336860477,0.61395159179682002,-4.1548842875500336,18,1000.6139515917969,995.84511571244991]
[null,19,188,43,null,3.8,null,188.71666666666667,3.2937271867219655,3.2937271867219655,-0.57588374922661623,-3.7561094109965292,19,999.42411625077341,996.24389058900351]
[null,20,194,44,null,16,null,194.73333333333332,3.3987378300502908,3.3987378300502908,-4.0691301628309366,-15.47391933926048,20,995.9308698371691,984.52608066073947]
[null,21,200,38,null,26.5,null,200.63333333333333,3.5017122559179565,3.5017122559179565,-9.3382334041479975,-24.800149130391425,21,990.66176659585199,975.19985086960855]
[null,22,194,55,null,3.7,null,194.91666666666666,3.4019376003456139,3.4019376003456139,-0.95243139181072811,-3.5753145936957047,22,999.04756860818929,996.42468540630432]
[null,23,197,32,null,9.1999999999999993,null,197.53333333333333,3.4476070491061321,3.4476070491061321,-2.7715975072553842,-8.772584981507773,23,997.22840249274464,991.22741501849225]
[null,24,200,24,30,16.399999999999999,null,200.40833333333333,3.4977852651009691,3.4977852651009691,-5.7188171986929266,-15.370593021999312,24,994.28118280130707,984.6294069780007]
[null,25,202,39,20,22.8,null,202.65555555555557,3.5370066919027305,3.5370066919027305,-8.7823391079977338,-21.040687246193588,25,991.2176608920023,978.95931275380644]
[null,26,216,25,50,22.2,null,216.43055555555554,3.7774257963649491,3.7774257963649491,-13.183426667273835,-17.861614185414851,26,986.81657333272619,982.13838581458515]
[null,27,224,29,null,19.3,null,224.48333333333332,3.9179732825186036,3.9179732825186036,-13.523543939112544,-13.769668090658266,27,986.47645606088747,986.23033190934177]
[null,28,221,29,40,14.2,null,221.49444444444444,3.8658073304312177,3.8658073304312177,-9.4081734251303306,-10.636083527439572,28,990.59182657486963,989.36391647256039]
[null,29,234,45,50,8.8000000000000007,null,234.76388888888889,4.0974028258972437,4.0974028258972437,-7.1876766289591911,-5.077135479531135,29,992.81232337104086,994.92286452046892]
[null,30,252,31,20,10.199999999999999,null,252.52222222222224,4.4073442122305702,4.4073442122305702,-9.7291017820155314,-3.0634259441321858,30,990.2708982179845,996.93657405586782]
[null,31,314,3,30,6.3,null,314.05833333333334,5.4813519599925247,5.4813519599925247,-4.5273827963393014,4.380959371577295,31,995.47261720366066,1004.3809593715773]
[null,32,343,22,30,12,null,343.375,5.9930243190355288,5.9930243190355288,-3.4332778476204555,11.498373938128758,32,996.5667221523795,1011.4983739381288]
[null,33,319,39,null,10.4,null,319.64999999999998,5.5789449539998737,5.5789449539998737,-6.7335329029217883,7.9258775315588679,33,993.26646709707825,1007.9258775315589]
[null,34,343,28,20,19.3,null,343.47222222222217,5.9947211669194109,5.9947211669194109,-5.4904670924930796,18.502561203959051,34,994.50953290750692,1018.5025612039591]
[null,35,350,38,null,18.3,null,350.63333333333333,6.1197061339094505,6.1197061339094505,{"$f":"SIN(J38)*F38","v":-2.9783610549604793},{"$f":"COS(J38)*F38","v":18.056006353186042},35,997.02163894503951,1018.056006353186]
[null,"B",95,null,null,40,null,95,1.6580627893946132,1.6580627893946132,{"$f":"SIN(J39)*F39","v":39.84778792366982},{"$f":"COS(J39)*F39","v":-3.4862297099063295},"B",1039.8477879236698,996.5137702900937]
["B","A",{"$nulls":10},"A"]
[null,36,65,14,null,2.9,null,{"$f":"C41+(D41/60)+(E41/3600)","v":65.233333333333334},{"$f":"H41*PI()/180","v":1.1385364487176344},{"$f":"IF($J$39+I41>PI(),$J$39+I41-PI(),$J$39+I41+PI())","v":5.9381918917020409},{"$f":"SIN(J41)*F41","v":-0.98075239405323167},{"$f":"COS(J41)*F41","v":2.7291252704042104},{"$f":"B41","v":36},{"$f":"$N$39+K41","v":1038.8670355296165},{"$f":"$O$39+L41","v":999.24289556049791}]
[null,37,87,20,40,4.3,null,{"$f":"C42+(D42/60)+(E42/3600)","v":87.344444444444434},{"$f":"H42*PI()/180","v":1.5244481388808246},{"$f":"IF($J$39+I42>PI(),$J$39+I42-PI(),$J$39+I42+PI())","v":4.0918274685644462E-2},{"$f":"SIN(J42)*F42","v":0.17589948665425625},{"$f":"COS(J42)*F42","v":4.2964007460425258},{"$f":"B42","v":37},{"$f":"$N$39+K42","v":1040.0236874103241},{"$f":"$O$39+L42","v":1000.8101710361362}]
[null,38,103,27,null,23.3,null,103.45,1.8055431111881337,0.32201324699295375,7.3739133353309558,22.102384534774259,38,1047.2217012590008,1018.616154824868]
[null,39,105,41,20,28.2,null,105.6888888888889,1.8446190938855627,0.36108922969038293,9.9628747459709945,26.381454220646997,39,1049.8106626696408,1022.8952245107407]
[null,40,107,48,null,27.2,null,107.8,1.8814649336498872,0.39793506945470725,10.540423951497203,25.074677723207213,40,1050.3882118751669,1021.5884480133009]
[null,41,108,57,null,19.8,null,108.95,1.9015362200478219,0.41800635585264168,8.037597536061142,18.095221077629969,41,1047.885385459731,1014.6089913677237]
[null,42,117,54,null,2.8,null,117.9,2.0577431881013144,0.57421332390613422,1.520888459861877,2.3509356206963572,42,1041.3686763835317,998.86470591079001]
[null,43,175,52,null,10.6,null,175.86666666666667,3.0694523778406944,1.5859225136455146,10.598787375019343,-0.16033146643924062,43,1050.4465752986891,996.35343882365441]
[null,44,177,14,30,9.9,null,177.24166666666665,3.0934506550556153,1.6099207908604356,9.8924238842279699,-0.38723338538408886,44,1049.7402118078978,996.12653690470961]
[null,45,215,55,null,5.6,null,215.91666666666666,3.7684567432644234,2.2849268790692436,4.2317126925318176,-3.6677796673007923,45,1044.0795006162016,992.8459906227929]
[null,46,299,38,40,3.2,null,299.64444444444445,5.2297821408647867,3.7462522766696065,-1.8191426642754884,-2.6326260590924568,46,1038.0286452593944,993.88114423100126]
[null,"AUX.1",106,null,null,23,null,106,1.8500490071139892,0.36651914291880949,8.2424628395419131,21.472349809435638,"AUX.1",1048.0902507632118,1017.9861200995293]
[null," C",190,null,null,8,null,190,3.3161255787892263,1.8325957145940466,7.7274066103125456,-2.0705523608201699," C",1047.5751945339823,994.44321792927349]
["C","B",{"$nulls":10},"B"]
[null,47,283,37,40,11.2,null,{"$f":"C55+(D55/60)+(E55/3600)","v":283.62777777777779},{"$f":"H55*PI()/180","v":4.9502385723370281},{"$f":"IF($J$53+I55>PI(),$J$53+I55-PI(),$J$53+I55+PI())","v":3.6412416333412816},{"$f":"SIN(J55)*F55","v":-5.3661155500434123},{"$f":"COS(J55)*F55","v":-9.8308089140000217},47,{"$f":"$N$53+K55","v":1042.209078983939},{"$f":"$O$53+L55","v":984.61240901527344}]
[null,48,283,40,null,13.5,null,{"$f":"C56+(D56/60)+(E56/3600)","v":283.66666666666669},{"$f":"H56*PI()/180","v":4.9509173114905813},{"$f":"IF($J$53+I56>PI(),$J$53+I56-PI(),$J$53+I56+PI())","v":3.6419203724948348},{"$f":"SIN(J56)*F56","v":-6.476127028878329},{"$f":"COS(J56)*F56","v":-11.845242872386853},{"$f":"B56","v":48},{"$f":"$N$53+K56","v":1041.0990675051039},{"$f":"$O$53+L56","v":982.59797505688664}]
[null,49,272,34,30,13.8,null,272.57499999999999,4.7573312086235431,3.4483342696277965,-4.1669645664607033,-13.155850649116573,49,1043.4082299675217,981.2873672801569]
[null,50,230,30,30,2.5,null,230.50833333333333,4.0231293699512625,2.7141324309555159,1.0364022244211928,-2.275053939847318,50,1048.6115967584035,992.16816398942615]
[null,51,252,40,null,9.5,null,252.66666666666666,4.4098652433723391,3.1008683043765926,0.38677438771415718,-9.4921233437523522,51,1047.9619689216966,984.9510945855211]
[null,52,190,null,null,9.3000000000000007,null,190,3.3161255787892263,2.0071286397934802,8.4286624194408404,-3.9303498341885152,52,1056.0038569534231,990.51286809508497]
[null,53,189,28,null,10.4,null,189.46666666666667,3.3068171561119231,1.9978202171161765,9.4661047064216586,-4.3073032963864675,53,1057.041299240404,990.13591463288697]
[null,"AUX.2",279,null,null,12,null,279,4.8694686130641793,3.5604716740684328,-4.8808397169096072,-10.962545491711209,"AUX.2",1042.6943548170727,983.48067243756225]
[null,"D",169,30,null,20,null,169.5,2.9583330821303884,1.6493361431346418,19.938346674662558,-1.5691819145569064,"D",1067.5135412086449,992.87403601471658]
["D","C",{"$nulls":10},"C"]
[null,54,11,26,null,16.899999999999999,null,11.433333333333334,0.19954931114468502,{"$f":"IF($J$63+I65>PI(),$J$63+I65-PI(),$J$63+I65+PI())","v":4.9904781078691203},-16.250731808019765,4.6393658730277574,54,{"$f":"$N$63+K65","v":1051.2628094006252},{"$f":"$O$63+L65","v":997.51340188774429}]
[null,55,104,28,50,4.5999999999999996,null,{"$f":"C66+(D66/60)+(E66/3600)","v":104.48055555555555},{"$f":"H66*PI()/180","v":1.8235296987572978},{"$f":"IF($J$63+I66>PI(),$J$63+I66-PI(),$J$63+I66+PI())","v":0.33127318830214669},{"$f":"SIN(J66)*F66","v":1.4961373751912599},{"$f":"COS(J66)*F66","v":4.3498934417472572},{"$f":"B66","v":55},{"$f":"$N$63+K66","v":1069.0096785838361},{"$f":"$O$63+L66","v":997.22392945646379}]
[null,56,120,48,20,5.3,null,120.80555555555556,2.1084546991453719,0.61619818869022058,3.0630648099842741,4.3252322446125362,56,1070.5766060186293,997.19926825932907]
[null,"E",262,33,30,4.7,null,262.55833333333334,4.5825073952154449,3.0902508847602936,0.24120031447899559,-4.6938068141216931,"E",1067.754741523124,988.18022920059491]
["E","D",{"$nulls":10},{"$f":"B69","v":"D"}]
[null,57,88,44,null,1.4,null,88.733333333333334,1.5486888229363018,{"$f":"IF($J$68+I70>PI(),$J$68+I70-PI(),$J$68+I70+PI())","v":1.4973470541068021},1.3962253404566916,0.10273654980870149,57,{"$f":"$N$68+K70","v":1069.1509668635808},{"$f":"$O$68+L70","v":988.2829657504036}]
[null,58,98,11,30,5,null,{"$f":"C71+(D71/60)+(E71/3600)","v":98.191666666666677},{"$f":"H71*PI()/180","v":1.7137678813540991},{"$f":"IF($J$68+I71>PI(),$J$68+I71-PI(),$J$68+I71+PI())","v":1.6624261125245994},{"$f":"SIN(J71)*F71","v":4.9790246378733087},{"$f":"COS(J71)*F71","v":-0.4575080933170142},{"$f":"B71","v":58},{"$f":"$N$68+K71","v":1072.7337661609974},{"$f":"$O$68+L71","v":987.72272110727795}]
[null,59,102,36,20,8.5,null,102.60555555555555,1.7908047752824041,1.7394630064529046,8.3793804529428133,-1.426878840280386,59,1076.1341219760668,986.75335036031447]
[null,60,102,52,null,11.7,null,102.86666666666666,1.7953620238848336,1.7440202550553341,11.524900305668519,-2.0165993514830052,60,1079.2796418287926,986.16362984911189]
[null,61,104,20,30,29.9,null,104.34166666666667,1.8211056303517501,1.7697638615222502,29.310108121189483,-5.9099544773358712,61,1097.0648496443134,982.27027472325904]
[null,62,107,2,null,32,null,107.03333333333333,1.868084076051264,1.8167423072217641,31.037037996591454,-7.7911663053831903,62,1098.7917795197154,980.38906289521174]
[null,63,108,39,20,29.5,null,108.65555555555557,1.8963971950280611,1.8450554261985612,28.397470620934961,-7.9895971320921939,63,1096.1522121440589,980.19063206850274]
[null,64,109,36,30,14.6,null,109.60833333333333,1.9130263042901179,1.8616845354606184,13.986646879806136,-4.1873271975819204,64,1081.7413884029302,983.992902003013]
[null,65,111,27,40,9.1999999999999993,null,111.46111111111111,1.9453633768201242,1.8940216079906245,8.7235864368718214,-2.9221635269823598,65,1076.4783279599958,985.25806567361258]
[null,66,253,35,20,1.2,null,253.5888888888889,4.4259610575851758,4.3746192887556763,-1.1321953190462692,-0.39766035700043872,66,1066.6225462040777,987.7825688435945]
[null,67,310,48,30,1.3,null,310.80833333333334,5.4246287593027089,5.3732869904732095,-1.0262737262950496,0.79797383335324568,67,1066.7284677968289,988.97820303394815]
[null,"F",105,null,null,47.3,null,105,1.8325957145940461,1.7812539457645471,46.25634522957106,-9.8813220776745663,"F",1114.0110867526951,978.29890712292035]
[null,68,312,null,null,200,null,312,5.4454272662223078,5.3940854973928083,-155.30096844197226,126.0222567683405,68,912.45377308115178,1114.2024859689354]

{"sheet":"RUA DA ESPERANÇA","index":2,"n_rows":96,"n_cols":15,"rows_kept":96,"cut":false,"hidden":false,"merged":[[0,2,0,4]]}
["ESTAÇÃO","PTO VISADO","ÂNGULO HORIZONTAL",null,null,"DISTÂNCIA","OBSERVAÇÕES","α decimal","radiano",null,"Δx","Δy","p","x","y"]
["A",{"$nulls":11},"A",1000,1000]
["A",0,0,0,null,44.9,null,{"$f":"C3+(D3/60)+(E3/3600)","v":0},{"$f":"H3*PI()/180","v":0},{"$f":"I3","v":0},{"$f":"SIN(J3)*F3","v":0},{"$f":"COS(J3)*F3","v":44.9},{"$f":"B3","v":0},{"$f":"$N$2+K3","v":1000},{"$f":"$O$2+L3","v":1044.9000000000001}]
[null,1,0,11,20,43.8,null,{"$f":"C4+(D4/60)+(E4/3600)","v":0.18888888888888888},{"$f":"H4*PI()/180","v":3.2967330315448445E-3},{"$f":"I4","v":3.2967330315448445E-3},{"$f":"SIN(J4)*F4","v":0.14439664522007781},{"$f":"COS(J4)*F4","v":43.799761981189455},{"$f":"B4","v":1},{"$f":"$N$2+K4","v":1000.1443966452201},{"$f":"$O$2+L4","v":1043.7997619811895}]
[null,2,357,5,null,43.5,null,357.08333333333331,6.232279870663084,6.232279870663084,-2.2134302323353134,43.443650014778733,2,997.78656976766467,1043.4436500147788]
[null,3,0,50,null,17.2,null,0.83333333333333337,1.454441043328608E-2,1.454441043328608E-2,0.25015503960722169,17.198180789146249,3,1000.2501550396072,1017.1981807891462]
[null,4,2,27,40,11.5,null,2.4611111111111112,4.2954492146304889E-2,4.2954492146304889E-2,0.49382476859539898,11.489392372876893,4,1000.4938247685953,1011.4893923728769]
[null,5,11,9,40,3,null,11.161111111111111,0.19479813706981158,0.19479813706981158,0.58070548157602642,2.9432602915249539,5,1000.580705481576,1002.943260291525]
[null,6,10,13,20,14.9,null,10.222222222222223,0.17841143464830928,0.17841143464830928,2.6442500779898044,14.663490086778486,6,1002.6442500779898,1014.6634900867784]
[null,7,18,8,40,9.1,null,18.144444444444446,0.31668029650074891,0.31668029650074891,2.8338642417266113,8.647497525843141,7,1002.8338642417266,1008.6474975258432]
[null,8,53,53,null,3.5,null,53.883333333333333,0.94044157861627786,0.94044157861627786,2.8273646080508121,2.0630097850329454,8,1002.8273646080509,1002.0630097850329]
[null,9,85,36,40,24.7,null,85.6111111111111,1.4941957651795899,1.4941957651795899,24.627569997936163,1.8901841171575253,9,1024.6275699979362,1001.8901841171576]
[null,10,87,19,30,27,null,87.325000000000003,1.5241087693040483,1.5241087693040483,26.970579016397469,1.2601061543618441,10,1026.9705790163976,1001.2601061543619]
[null,11,84,37,40,24.8,null,84.627777777777766,1.4770333608683122,1.4770333608683122,24.691065320443116,2.3219158773761226,11,1024.6910653204432,1002.3219158773761]
[null,12,87,15,50,46.2,null,87.263888888888886,1.5230421792056072,1.5230421792056072,46.14733141624842,2.2054031737829334,12,1046.1473314162483,1002.2054031737829]
[null,13,94,58,20,43.8,null,94.972222222222229,1.6575779757135036,1.6575779757135036,43.635173386648887,-3.7962670502861875,13,1043.6351733866488,996.20373294971387]
[null,14,97,29,50,32.6,null,97.49722222222222,1.7016475393263604,1.7016475393263604,32.321308738482649,-4.2535868901064244,14,1032.3213087384827,995.74641310989352]
[null,15,100,5,null,23.3,null,100.08333333333333,1.7467836930376579,1.7467836930376579,22.940111705116724,-4.0793718826268703,15,1022.9401117051167,995.9206281173731]
[null,16,103,14,30,13.3,null,103.24166666666667,1.8019070085798126,1.8019070085798126,12.946387367339319,-3.0464822557823839,16,1012.9463873673393,996.95351774421761]
[null,17,148,3,50,3.2,null,148.0638888888889,2.5842023644181595,2.5842023644181595,1.6927145623943975,-2.7156430933128792,17,1001.6927145623944,997.28435690668709]
[null,18,185,46,30,20.2,null,185.77500000000001,3.242385417892466,3.242385417892466,-2.0325682173158826,-20.097479106643135,18,997.96743178268412,979.90252089335684]
[null,19,190,58,null,29.2,null,190.96666666666667,3.3329970948918382,3.3329970948918382,-5.5549459666980514,-28.666750344380944,19,994.44505403330197,971.33324965561906]
[null,20,178,52,null,2.7,null,178.86666666666667,3.1218122554005245,3.1218122554005245,5.3403592466827514E-2,-2.6994718106162243,20,1000.0534035924668,997.30052818938373]
[null,21,187,0,20,11,null,187.00555555555556,3.2638626639656181,3.2638626639656181,-1.3416214110507154,-10.917877632095456,21,998.65837858894929,989.0821223679045]
[null,22,191,19,null,21.8,null,191.31666666666666,3.3391057472738179,3.3391057472738179,-4.2778441971382088,-21.37615608628013,22,995.72215580286183,978.62384391371984]
[null,23,193,47,50,30,null,193.79722222222222,3.3823996089968995,3.3823996089968995,-7.154591261392798,-29.134375295900917,23,992.84540873860715,970.8656247040991]
[null,24,206,22,40,18.5,null,206.37777777777779,3.6019717251714085,3.6019717251714085,-8.2193232473169306,-16.573856683226008,24,991.78067675268312,983.42614331677396]
[null,25,214,43,30,11.6,null,214.72499999999999,3.7476582363448236,3.7476582363448236,-6.6078030879736653,-9.5339885856112527,25,993.39219691202629,990.46601141438873]
[null,26,242,30,null,6.1,null,242.5,4.2324234360862487,4.2324234360862487,-5.4107660823871511,-2.8166665407337099,26,994.58923391761289,997.18333345926624]
[null,27,328,14,null,8.9,null,328.23333333333335,5.728752381462721,5.728752381462721,-4.6855052035051177,7.5667721643991941,27,995.31449479649484,1007.5667721643991]
[null,28,342,27,40,16,null,342.46111111111111,5.9770739489270248,5.9770739489270248,-4.8216488835976365,15.256202084506539,28,995.17835111640238,1015.2562020845065]
[null,29,215,44,20,20.6,null,215.73888888888888,3.7653539357053218,3.7653539357053218,-12.032300757562357,-16.720757712483138,29,987.96769924243767,983.27924228751681]
[null,30,222,0,50,13.7,null,222.01388888888889,3.8748733462679663,3.8748733462679663,-9.169557002190464,-10.178861644780314,30,990.83044299780954,989.82113835521966]
[null,31,302,0,null,8.5,null,302,5.270894341022875,5.270894341022875,-7.2084088173296221,4.5043137459822393,31,992.79159118267035,1004.5043137459822]
[null,32,333,12,null,15.6,null,333.2,5.8154370676451057,5.8154370676451057,-7.0336896347551257,13.924338767853154,32,992.96631036524491,1013.9243387678531]
[null,33,341,58,40,25.1,null,341.97777777777776,5.9686381908757182,5.9686381908757182,-7.7655845662223824,23.868508465022462,33,992.2344154337776,1023.8685084650225]
[null,"B",91,30,null,60,null,91.5,1.5969762655748114,{"$f":"I37","v":1.5969762655748114},59.979439498533438,-1.570616898472381,"B",1059.9794394985333,998.42938310152761]
["B","A",{"$nulls":10},"A"]
[null,"C",180,null,null,13,null,{"$f":"C39+(D39/60)+(E39/3600)","v":180},{"$f":"H39*PI()/180","v":3.1415926535897931},{"$f":"IF($J$37+I39>PI(),$J$37+I39-PI(),$J$37+I39+PI())","v":1.5969762655748116},{"$f":"SIN(J39)*F39","v":12.995545224682244},{"$f":"COS(J39)*F39","v":-0.3403003280023521},{"$f":"B39","v":"C"},{"$f":"$N$37+K39","v":1072.9749847232156},{"$f":"$O$37+L39","v":998.08908277352521}]
["C","B",{"$nulls":10},"B"]
[null,34,7,16,null,18.5,null,{"$f":"C41+(D41/60)+(E41/3600)","v":7.2666666666666666},{"$f":"H41*PI()/180","v":0.12682725897825461},{"$f":"IF($J$39+I41>PI(),$J$39+I41-PI(),$J$39+I41+PI())","v":4.8653961781428592},{"$f":"SIN(J41)*F41","v":-18.283868528439864},{"$f":"COS(J41)*F41","v":2.8196013254937875},{"$f":"B41","v":34},{"$f":"$N$39+K41","v":1054.6911161947758},{"$f":"$O$39+L41","v":1000.908684099019}]
[null,35,13,19,20,8.5,null,{"$f":"C42+(D42/60)+(E42/3600)","v":13.322222222222223},{"$f":"H42*PI()/180","v":0.23251664146013348},{"$f":"IF($J$39+I42>PI(),$J$39+I42-PI(),$J$39+I42+PI())","v":4.9710855606247382},{"$f":"SIN(J42)*F42","v":-8.2171560485810495},{"$f":"COS(J42)*F42","v":2.1744761376634791},{"$f":"B42","v":35},{"$f":"$N$39+K42","v":1064.7578286746345},{"$f":"$O$39+L42","v":1000.2635589111887}]
[null,36,6,53,null,8.6999999999999993,null,6.8833333333333329,0.120136830178943,4.8587057493435477,-8.6070386289673433,1.2684187161438187,36,1064.3679460942483,999.35750148966906]
[null,37,125,58,30,2.7,null,125.97500000000001,2.1986785251998566,0.65406213718487516,1.6427210545041813,2.1427709950175897,37,1074.6177057777197,1000.2318537685428]
[null,38,171,20,40,16.3,null,171.34444444444446,2.9905247105560622,1.4459083225410811,16.173049471958027,2.0303868541729257,38,1089.1480341951735,1000.1194696276981]
[null,39,173,46,40,16.5,null,173.7777777777778,3.0329943890212574,1.4883780010062759,16.443991276838034,1.3583633119583913,39,1089.4189760000536,999.44744608548365]
[null,40,178,0,50,33,null,178.01388888888889,3.1069284753904616,1.5623120873754797,32.998812298868806,0.27997654191911486,40,1105.9737970220845,998.36905931544436]
[null,41,180,28,null,40.200000000000003,null,180.46666666666667,3.1497375234324334,1.6051211354174519,40.176320656050862,-1.3795863663362462,41,1113.1513053792664,996.70949640718891]
[null,42,181,24,50,52.3,null,181.41388888888889,3.1662696699582686,1.6216532819432867,52.232379434995053,-2.658672330074813,42,1125.2073641582106,995.43041044345034]
[null,43,184,11,null,52.2,null,184.18333333333334,3.2146055939648894,1.669989205949908,51.943406661679525,-5.1693814310213062,43,1124.9183913848951,992.91970134250391]
[null,44,184,6,50,54.9,null,184.11388888888888,3.2133935597621153,1.6687771717471342,54.636684007264861,-5.3705456603857309,44,1127.6116687304805,992.71853711313952]
[null,45,188,null,null,53.3,null,188,3.2812189937493397,1.7366026057343582,52.569022561934425,-8.7970373923741327,45,1125.54400728515,989.29204538115107]
[null,46,198,56,40,48.5,null,198.94444444444446,3.4722355841064969,1.9276191960915154,45.445048997477315,-16.941001198774721,46,1118.4200337206928,981.14808157475045]
[null,47,192,44,40,47.2,null,192.74444444444444,3.3640251704828477,1.8194087824678657,45.748825278392339,-11.613999554293539,47,1118.7238100016079,986.47508321923169]
[null,48,190,25,null,25.5,null,190.41666666666666,3.323397784005869,1.7787813959908876,24.950448514113429,-5.2654647415565279,48,1097.9254332373291,992.82361803196864]
[null,49,189,21,30,19.3,null,189.35833333333332,3.3049263827555957,1.7603099947406147,18.954452165353288,-3.6357589457132589,49,1091.9294368885689,994.45332382781191]
[null,50,191,51,null,18.899999999999999,null,191.85,3.3484141699511212,1.8037977819361402,18.389279398940385,-4.3639893661312534,50,1091.3642641221559,993.72509340739396]
[null,51,191,18,null,12.1,null,191.3,3.338814859065153,1.7941984710501711,11.799307187097314,-2.6807368211955573,51,1084.774291910313,995.40834595232968]
[null,52,253,50,null,4.9000000000000004,null,253.83333333333334,4.4302274179789398,2.8856110299639584,1.2406563237135282,-4.7403345753680339,52,1074.215641046929,993.34874819815718]
[null,53,261,59,30,4.5,null,261.99166666666667,4.5726171961208104,3.0280008081058289,0.5100647478240905,-4.4709992119242363,53,1073.4850494710397,993.618083561601]
[null,54,272,59,20,7.5,null,272.98888888888888,4.764554932472076,3.2199385444570945,-0.58699324941612163,-7.4769939765349482,54,1072.3879914737995,990.61208879699029]
[null,55,282,15,null,18.8,null,282.25,4.9261918137539951,3.3815754257390136,-4.4684947757320552,-18.261230912489317,55,1068.5064899474835,979.82785186103592]
[null,56,297,59,30,20.9,null,297.99166666666667,5.200935726838769,3.6563193388237876,-10.289006605929924,-18.191930712904838,56,1062.6859781172857,979.89715206062033]
[null,57,296,52,40,15.3,null,296.87777777777779,5.1814946982262766,3.6368783102112952,-7.2718299118573491,-13.46144456338237,57,1065.7031548113582,984.62763821014289]
[null,58,301,2,40,10.5,null,301.04444444444448,5.2542167503927075,3.7096003623777261,-5.6485135031783624,-8.8512312818280652,58,1067.3264712200373,989.23785149169714]
[null,59,308,21,50,8.5,null,308.36388888888894,5.3819651553650711,3.8373487673500897,-5.448210935328996,-6.5243388633762374,59,1067.5267737878867,991.56474391014899]
[null,60,322,19,30,7.2,null,322.32499999999999,5.6256325114907222,4.0810161234757407,-5.8119691367211912,-4.2498252615608019,60,1067.1630155864943,993.83925751196443]
[null,61,312,28,null,9,null,312.46666666666664,5.4535721360649481,3.9089557480499666,-6.2481578219313052,-6.4776943299478589,61,1066.7268269012843,991.61138844357731]
[null,62,344,17,20,11,null,344.28888888888889,6.0089746891440328,4.4643583011290513,-10.663375363473007,-2.70044919553709,62,1062.3116093597425,995.38863357798812]
[null,63,350,40,20,16.5,null,350.67222222222222,6.1203848730630046,4.5757684850480231,-16.346251800003653,-2.2472320954626155,63,1056.6287329232118,995.84185067806254]
[null,"AUX.1",186,null,null,54,null,186,3.2463124087094526,1.7016960206944711,53.538022514185769,-7.0484143798827743,"AUX.1",1126.5130072374013,991.04066839364248]
[null,"D",289,null,null,19,null,289,5.0440015382636121,3.4993851502486306,-6.6539402439298776,-17.796771595719555,"D",1066.3210444792858,980.29231117780569]
["D","C",{"$nulls":10},{"$f":"B73","v":"C"}]
[null,64,96,38,null,5,null,{"$f":"C74+(D74/60)+(E74/3600)","v":96.63333333333334},{"$f":"H74*PI()/180","v":1.6865698338438537},{"$f":"IF($J$72+I74>PI(),$J$72+I74-PI(),$J$72+I74+PI())","v":2.0443623305026914},{"$f":"SIN(J74)*F74","v":4.4497381434480641},{"$f":"COS(J74)*F74","v":-2.2803136746385078},64,{"$f":"$N$72+K74","v":1070.7707826227338},{"$f":"$O$72+L74","v":978.01199750316721}]
[null,65,104,26,20,19.3,null,{"$f":"C75+(D75/60)+(E75/3600)","v":104.4388888888889},{"$f":"H75*PI()/180","v":1.8228024782356336},{"$f":"IF($J$72+I75>PI(),$J$72+I75-PI(),$J$72+I75+PI())","v":2.1805949748944711},{"$f":"SIN(J75)*F75","v":15.82143263919634},{"$f":"COS(J75)*F75","v":-11.053156528493242},{"$f":"B75","v":65},{"$f":"$N$72+K75","v":1082.142477118482},{"$f":"$O$72+L75","v":969.23915464931247}]
[null,66,106,56,40,18,null,106.94444444444444,1.8665326722717133,2.2243251689305508,14.290978301838578,-10.943853945314645,66,1080.6120227811243,969.348457232491]
[null,67,106,15,40,1.9,null,106.26111111111111,1.8546062557164189,2.2123987523752566,1.5221617577646178,-1.1371119484021475,67,1067.8432062370505,979.15519922940359]
[null,68,193,7,null,9.9,null,193.11666666666667,3.3705216738097161,3.7283141704685541,-5.4809747466677452,-8.2443262809274156,68,1060.8400697326181,972.04798489687823]
[null,69,201,17,40,20.7,null,201.29444444444445,3.5132508215283633,3.8710433181872013,-13.795725803077602,-15.432690937302503,69,1052.5253186762081,964.8596202405032]
[null,70,213,35,null,13.8,null,213.58333333333334,3.7277323940512224,4.0855248907100599,-11.176220315740753,-8.095189896106433,70,1055.1448241635451,972.19712128169931]
[null,71,217,27,null,8.1999999999999993,null,217.45,3.7952184584616697,4.1530109551205072,-6.9501997183478217,-4.3514048162723089,71,1059.3708447609379,975.94090636153339]
[null,"E",207,null,null,34,null,207,3.6128315516282616,3.9706240482870996,-25.067429451544211,-22.97006705893245,"E",1041.2536150277415,957.32224411887319]
["E","D",{"$nulls":10},"D"]
[null,72,56,27,50,2.5,null,56.463888888888889,0.98548076959135378,{"$f":"IF($J$82+I84>PI(),$J$82+I84-PI(),$J$82+I84+PI())","v":1.8145121642886606},2.4261200167781984,-0.60327577788947828,72,{"$f":"$N$82+K84","v":1043.6797350445197},{"$f":"$O$82+L84","v":956.71896834098368}]
[null,73,81,42,20,23.3,null,{"$f":"C85+(D85/60)+(E85/3600)","v":81.705555555555563},{"$f":"H85*PI()/180","v":1.4260309616155893},{"$f":"IF($J$82+I85>PI(),$J$82+I85-PI(),$J$82+I85+PI())","v":2.2550623563128962},{"$f":"SIN(J85)*F85","v":18.054778601259425},{"$f":"COS(J85)*F85","v":-14.728033462058157},{"$f":"B85","v":73},{"$f":"$N$82+K85","v":1059.3083936290009},{"$f":"$O$82+L85","v":942.59421065681499}]
[null,74,84,14,50,40.5,null,84.24722222222222,1.4703914134371117,2.2994228081344179,30.216631110082421,-26.96674256111033,74,1071.470246137824,930.35550155776286]
[null,75,87,31,20,40,null,87.522222222222226,1.5275509464399259,2.3565823411372326,28.273299039029972,-28.295239201137473,75,1069.5269140667715,929.02700491773567]
[null,76,88,17,50,25.9,null,88.297222222222217,1.5410772481428821,2.3701086428401883,18.057476344015566,-18.567109308810515,76,1059.3110913717571,938.75513481006271]
[null,77,88,44,20,21.6,null,88.738888888888894,1.5487857856725238,2.3778171803698305,14.939707555104054,-15.600164684001479,77,1056.1933225828454,941.72207943487172]
[null,78,93,11,null,9.4,null,93.183333333333337,1.6263559746500496,2.4553873693473562,5.9558959001053156,-7.2723657792432785,78,1047.2095109278468,950.04987833962991]
[null,79,241,11,40,4.4000000000000004,null,241.19444444444446,4.2096371930741014,5.0386685877714079,-4.1678619875467868,1.4102930379047296,79,1037.0857530401947,958.73253715677788]
[null,80,254,14,50,4.7,null,254.24722222222221,4.4374511418274718,5.2664825365247783,-3.9967753571655509,2.4730116749328506,80,1037.256839670576,959.79525579380606]
[null,81,252,30,40,7.2,null,252.51111111111112,4.4071502867581263,5.2361816814554327,-6.2346846583042366,3.6012091318758186,81,1035.0189303694372,960.92345325074905]
[null,82,298,13,20,3,null,298.22222222222217,5.204959680391978,6.0339910750892845,-0.73986948146190468,2.9073343719636533,82,1040.5137455462796,960.22957849083684]
[null,"F",85,30,null,42,null,85.5,1.4922565104551517,2.3212879051524578,30.716855468005178,-28.643931122624917,"F",1071.9704704957467,928.67831299624822]
[null,83,328,null,null,200,null,328,5.7246799465414,6.5537113412387065,53.447675215651167,192.72609064172465,83,1094.7012902433926,1150.0483347605978]

{"sheet":"RUA AYRTON SENNA","index":3,"n_rows":41,"n_cols":15,"rows_kept":41,"cut":false,"hidden":false,"merged":[[0,2,0,4]]}
["ESTAÇÃO","PTO VISADO","ÂNGULO HORIZONTAL",null,null,"DISTÂNCIA","OBSERVAÇÕES","α decimal","radiano",null,"Δx","Δy","p","x","y"]
["A",{"$nulls":11},"A",1000,1000]
["A",0,0,0,null,43,null,{"$f":"C3+(D3/60)+(E3/3600)","v":0},{"$f":"H3*PI()/180","v":0},{"$f":"I3","v":0},{"$f":"SIN(J3)*F3","v":0},{"$f":"COS(J3)*F3","v":43},{"$f":"B3","v":0},{"$f":"$N$2+K3","v":1000},{"$f":"$O$2+L3","v":1043}]
[null,1,357,32,40,39.200000000000003,null,{"$f":"C4+(D4/60)+(E4/3600)","v":357.54444444444448},{"$f":"H4*PI()/180","v":6.2403277777695036},{"$f":"I4","v":6.2403277777695036},{"$f":"SIN(J4)*F4","v":-1.6795009004753152},{"$f":"COS(J4)*F4","v":39.164004860653648},{"$f":"B4","v":1},{"$f":"$N$2+K4","v":998.32049909952468},{"$f":"$O$2+L4","v":1039.1640048606537}]
[null,2,2,54,null,2.1,null,2.9,5.0614548307835558E-2,5.0614548307835558E-2,0.10624517416109797,2.0973106500867913,2,1000.1062451741611,1002.0973106500868]
[null,3,46,5,null,3.4,null,46.083333333333336,0.80430589696072019,0.80430589696072019,2.4491878878601736,2.3582787557791005,3,1002.4491878878601,1002.3582787557791]
[null,4,76,40,20,17.100000000000001,null,76.672222222222231,1.3381827225985414,1.3381827225985414,16.639449584289952,3.9419180016678408,4,1016.63944958429,1003.9419180016679]
[null,5,97,21,null,18.100000000000001,null,97.35,1.6990780268164798,1.6990780268164798,17.951275560345358,-2.315535738559761,5,1017.9512755603454,997.68446426144021]
[null,6,94,37,40,18,null,94.627777777777766,1.6515662860677451,1.6515662860677451,17.941317836012068,-1.4522790045976988,6,1017.9413178360121,998.5477209954023]
[null,7,128,43,30,3.5,null,128.72499999999999,2.2466750796297004,2.2466750796297004,2.730551318183835,-2.1895409333384297,7,1002.7305513181839,997.81045906666156]
[null,8,136,42,50,3.2,null,136.71388888888887,2.386107494316803,2.386107494316803,2.1940541301906129,-2.3294047466667349,8,1002.1940541301906,997.67059525333332]
[null,9,136,42,50,4,null,136.71388888888887,2.386107494316803,2.386107494316803,2.7425676627382658,-2.9117559333334184,9,1002.7425676627382,997.08824406666656]
[null,10,166,46,null,13,null,166.76666666666668,2.91062741590921,2.91062741590921,2.9759240768472441,-12.654796556596272,10,1002.9759240768473,987.34520344340376]
[null,11,172,14,50,30,null,172.24722222222221,3.0062811551921209,3.0062811551921209,4.0469690594863525,-29.725780753944214,11,1004.0469690594864,970.27421924605574]
[null,12,176,56,40,30,null,176.94444444444446,3.0882631486677448,3.0882631486677448,1.5991269003089328,-29.957349568289722,12,1001.599126900309,970.04265043171029]
[null,13,185,26,20,35,null,185.4388888888889,3.2365191723510405,3.2365191723510405,-3.3174406466098132,-34.842425110147275,13,996.68255935339016,965.15757488985275]
[null,14,189,null,null,35.5,null,189,3.2986722862692828,3.2986722862692828,-5.5534235089281907,-35.062936091127391,14,994.44657649107182,964.93706390887257]
[null,15,346,46,null,41.3,null,346.76666666666665,6.0522200694990032,6.0522200694990032,-9.4542818749070179,40.203315214417387,15,990.545718125093,1040.2033152144174]
[null,16,349,32,null,39.5,null,349.53333333333336,6.1005075121375132,6.1005075121375132,-7.1757066765928252,38.842750078895044,16,992.82429332340712,1038.8427500788951]
[null,"B",84,null,null,80,null,84,1.4660765716752369,1.4660765716752369,79.561751629461867,8.3622770614122768,"B",1079.5617516294619,1008.3622770614123]
["B","A",{"$nulls":10},"A"]
[null,17,356,45,null,55.2,null,356.75,6.2264621064897714,{"$f":"IF($J$20+I22>PI(),$J$20+I22-PI(),$J$20+I22+PI())","v":4.5509460245752154},-54.482199434124809,-8.872989621331147,17,{"$f":"$N$20+K22","v":1025.0795521953371},{"$f":"$O$20+L22","v":999.48928744008117}]
[null,18,357,26,30,44.9,null,{"$f":"C23+(D23/60)+(E23/3600)","v":357.44166666666666},{"$f":"H23*PI()/180","v":6.2385339671493982},{"$f":"IF($J$20+I23>PI(),$J$20+I23-PI(),$J$20+I23+PI())","v":4.5630178852348422},{"$f":"SIN(J23)*F23","v":-44.400032427551018},{"$f":"COS(J23)*F23","v":-6.6818500755717194},{"$f":"B23","v":18},{"$f":"$N$20+K23","v":1035.161719201911},{"$f":"$O$20+L23","v":1001.6804269858407}]
[null,19,3,46,40,41.1,null,3.7777777777777777,6.5934660630896882E-2,4.6736038858959272,-41.069090847923853,-1.5936677586551562,19,1038.492660781538,1006.7686093027572]
[null,20,44,10,40,5,null,44.177777777777777,0.77104767843660604,5.378716903701636,-3.9304834217113758,3.0905177675677642,20,1075.6312682077505,1011.4527948289801]
[null,21,77,53,30,13.2,null,77.89166666666668,1.35946604319925,5.96713526846428,-4.1027536869457055,12.546211068854749,21,1075.4589979425161,1020.9084881302671]
[null,22,93,31,40,5.2,null,93.527777777777771,1.6323676642958074,6.2400368895608374,-0.22430215606320714,5.1951601075217493,22,1079.3374494733987,1013.557437168934]
[null,23,133,14,30,10.4,null,133.24166666666665,2.325505784178111,0.64998970226355457,6.2938533615651799,8.2793363177923069,23,1085.8556049910271,1016.6416133792046]
[null,24,160,8,null,12.6,null,160.13333333333333,2.7948539088602531,1.1193378269456966,11.337628020849873,5.4971074994800446,24,1090.8993796503119,1013.8593845608924]
[null,25,165,37,50,13.4,null,165.63055555555556,2.8907985363518303,1.2152824544372738,12.562067822490151,4.6641668091050912,25,1092.1238194519522,1013.0264438705174]
[null,26,187,21,30,14.4,null,187.35833333333332,3.2700197977157086,1.5945037158011521,14.395953499416869,-0.34135442376983649,26,1093.9577051288788,1008.0209226376425]
[null,27,270,35,30,20,null,270.59166666666664,4.7227155117923223,3.0471994298777663,1.8850622188174129,-19.910965331474696,27,1081.4468138482794,988.45131172993763]
[null,28,276,9,null,20.6,null,276.14999999999998,4.8197267293823405,3.1442106474677844,-5.3930612280804799E-2,-20.599929404953286,28,1079.5078210171812,987.76234765645904]
[null,29,316,58,40,9.1,null,316.97777777777776,5.5323058778771363,3.8567897959625803,-5.9674730099448174,-6.870172186749044,29,1073.5942786195171,1001.4921048746633]
[null,30,336,2,30,9.1999999999999993,null,336.04166666666669,5.8650335072226119,4.1895174253080558,-7.9707768221343196,-4.5942047028540536,30,1071.5909748073277,1003.7680723585582]
[null,31,336,2,null,8.1999999999999993,null,336.03333333333336,5.8648880631182791,4.1893719812037231,-7.1037923924241158,-4.0958678744970811,31,1072.4579592370378,1004.2664091869152]
[null,32,347,55,20,11,null,347.92222222222222,6.07238831863316,4.3968722367186039,-10.456997719072202,-3.4133852263286615,32,1069.1047539103897,1004.9488918350837]
[null,33,353,null,null,14.3,null,353,6.1610122595399828,4.4854961776254267,-13.933491926428863,-3.2168000771172731,33,1065.6282597030331,1005.1454769842951]
[null,34,352,30,null,8.8000000000000007,null,352.5,6.1522856132800117,4.4767695313654556,-8.5568552994995546,-2.0543192019319654,34,1071.0048963299623,1006.3079578594803]
[null,35,16,29,20,9.9,null,16.488888888888891,0.2877854011066206,4.8954546263716505,-9.7345732689357867,1.802243954552448,35,1069.8271783605262,1010.1645210159647]
[null,36,100,null,null,200,null,100,1.7453292519943295,6.9813170079773279E-2,13.951294748825079,199.51281005196483,36,1093.5130463782871,1207.875087113377]

{"sheet":"Plan1","index":4,"n_rows":1,"n_cols":15,"rows_kept":1,"cut":false,"hidden":true,"merged":[[0,2,0,4]]}
["ESTAÇÃO","PTO VISADO","ÂNGULO HORIZONTAL",null,null,"DISTÂNCIA","OBSERVAÇÕES","α decimal","radiano",null,"Δx","Δy","p","x","y"]